## Price Schedule
PRICE SCHEDULE
PROJECT TITLE: ACQUISITION OF LABORATORY REAGENTS-NBB ( 1ST & 2ND QTR)
PROJECT NUMBER. : 19-073
Item No. | QTY | Unit of Issue | Description | Unit Cost | ABC Itemized Ceiling Price | Brand | Bid Unit Price | Item Bid Price
Lot I - Reagents & Supplies for fully automated Bacterial Identification & Susceptibility testing, Blood Culture system and Commercially prepared Control for Bacteriology (B)
1 | 25 | bot | 0.45% Saline Solution 500ml | 1700 | 42500
2 | 2 | box | Automated identification card ( for yeast) 20 cards of 64 wells/card | 17657 | 35314
3 | 18 | box | Automated Susceptibility card for Gram (+) cocci 20 cards of 64 wells/card | 15760 | 283680
4 | 2 | box | Automated Susceptibility card for streptococcus 20 cards of 64 wells/card | 15760 | 31520
5 | 20 | box | Automated Identification card for Gram (-) Bacilli 20 cards of 64 wells/card | 21700 | 434000
6 | 18 | box | Automated Identification card for Gram (+) cocci 20 cards of 64 wells/card | 19700 | 354600
7 | 2 | box | Automated Identification card for Anaerobe & Corynebacterium 20 cards of 64 wells/card | 21700 | 43400
8 | 2 | box | Automated Identification card for Neisseria & Hemophilus 20 cards of 64 wells/card | 19700 | 39400
9 | 20 | box | Automated Susceptibility card for Gram (-) bacilli 20 cards of 64 wells/card | 19700 | 394000
10 | 2 | box | Automated Susceptibility card for Gram (+) bacilli 20 cards of 64 wells/card | 21700 | 43400
11 | 2 | box | Blood culture bottle with ARD (anaerobe) 100 bottles of 40ml | 38600 | 77200
12 | 15 | box | Blood culture bottle with ARD aerobic, 100bottles of 30ml | 38600 | 579000
13 | 5 | box | Blood culture bottle pediatric 100 bottle of 30ml/bot | 48000 | 240000
14 | 5 | box | Blood culture bottle with Stir bar 50 bottles of 40ml | 34300 | 171500
15 | 1 | vial | Pseudomonas aeruginosa (ATCC 278253) 5 loops/pack | 15000 | 15000
16 | 1 | vial | Stapphylococcus Aureus (ATCC 29213) 5 loops/pack | 15000 | 15000
17 | 1 | vial | Enterococcus faecalis (ATCC29212) 5 loops/pack | 15000 | 15000
18 | 1 | vial | Escherichia Coli (ATCC 25922) 5 loops/pack | 5000 | 5000
19 | 5 | pack | Suspension tubes 1000pcs/pack fit for densometer (plastic) | 15100 | 75500
20 | 2 | pack | anaerobic gas pack envelope 20pcs | 15000 | 30000
21 | 5 | pack | Transwab standard plastic, Amies agar Blue cap 125pcs | 4850 | 24250
22 | 4 | bot | Autoclave deodorant Lemon fragrant 100 pcs | 8085 | 32340
|  |  |  | Total Lot I | 2981604
Lot II. Reagents for semi-automated urine strip reader (CM)
1 | 250 | bot | 10 Parameters urine strip for urine strip 100 strips | 1000 | 250000
2 | 3 | bot | Urinalysis Control strip (positive & Negative) 100 strips | 12000 | 36000
3 | 1 | bot | standard/calibrator strip 100 strips | 12000 | 12000
|  |  |  | Total Lot II | 298000
Lot III. Reagents compatible with the existing hospital owned semi automated rapid analysis of fecal intestinal parasite (PARASYS) (CM)
1 | 5 | box | Tubes ethyl acetate for fecal formalin/ether concentration technique 40 tubes of 2.4ml/tube | 5320 | 26600
2 | 5 | box | Tubes formalin for fecal formalin/ether concentration technique 40 tubes of 3.3ml/tube | 4390 | 21950
3 | 5 | box | Tubes with saline for fecal formalin/ether cocentration technique 40 tubes of 3.3ml/tube | 4704 | 23520
4 | 5 | bot | cleaner for fecal formalin/ether cocentration technique 50ml | 1862 | 9310
|  |  |  | Total Lot III | 81380
Lot IV. Reagents and consummables compatible w/ hospital owned fully automated immunohistochemistry analyzer (BOND-MAX) (HP)
1 | 2 | bot | Epitope retrieval 1 1Liter170 Tests | 19000 | 38000
2 | 2 | bot | Epitope retrieval 2 1Liter 170 Tests | 19000 | 38000
3 | 4 | bot | Estrogen receptor bond 7ml 46Tests | 19800 | 79200
4 | 2 | bot | polymer refine detection 30 ml 200 Tests | 75205 | 150410
5 | 4 | bot | PR bond 7ml 46Tests | 19800 | 79200
6 | 2 | bot | HER 2 1ml 200Tests | 43690 | 87380
7 | 2 | bot | wash solution 10x 1 Liter 425 Tests | 22562 | 45124
8 | 1 | bot | aspiration probe cleaning kit 30ml, 15 tests | 16832 | 16832
9 | 4 | bot | dewax solution 350Tests | 6805 | 27220
10 | 1 | bot | IHC diluent 500ml , 167 Tests | 45000 | 45000
11 | 1 | box | Bond covertiles | 19080 | 19080
12 | 4 | box | plus slides, 25.5 x 75.5 x 1.0mm 72pcs | 2880 | 11520
13 | 6 | bot | decalcifier I 1Liter | 5000 | 30000
14 | 6 | bot | decalcifier II 1Liter | 5000 | 30000
|  |  |  | Total Lot IV | 696966
Lot V. Reagents for semiautomated crossmatching analyzer (BB)
1 | 9 | box | Coombs gel Cards for cross matching AHG phase 400 tests | 35000 | 315000
2 | 9 | kit | Neutral gel Cards for cross matching LISS phase 400 tests | 35000 | 315000
3 | 30 | kit | Diluent for Gel cards for crossmatching 2 bottles of 100ml | 14000 | 420000
|  |  |  | Total Lot V | 1050000
Lot VI - Probe compatible with hospital owned Non-invasive Hemoglobin analyzer (Orsense NBM-200)
1 | 1 | pc | *Non-invasive hemoglobin determination probe 5000 tests/ probe | 295000 | 295000
|  |  |  | Total Lot VI | 295000
LoT VII. Reagents & consummables for fully automated immunoserology machine
1 | 23 | kit | Hepatitis B Antigen Reagent, 100 Test/kit | 28569.3 | 657093.9
2 | 21 | kit | Hepatitis C Antibody Reagent, 100 Test/kit | 32000 | 672000
3 | 21 | kit | HIV Ag/Ab Reagent, 100 Test/kit | 28700 | 602700
4 | 22 | kit | Syphilis TP Reagent, 100 Test/kit | 14300 | 314600
5 | 3 | kit | Hepatitis B Antigen Calibrator, 2 bottle x 4ml/kit | 22600 | 67800
6 | 3 | box | Hepatitis C Antibody Calibrator, 1 bottle x 4ml | 16600 | 49800
7 | 3 | box | HIV Ag/Ab Calibrator, 1 bottle x 4ml | 16600 | 49800
8 | 3 | box | Syphilis TP Calibrator, 1 bottle x 4 ml | 16600 | 49800
9 | 5 | box | Hepatitis B Antigen Negative and Positive Control (2 bottle x 8ml) | 17500 | 87500
10 | 5 | box | Hepatitis C Antibody Negative and Positive Control (2 bottle x 8 ml) | 17500 | 87500
11 | 5 | box | HIV Ag/AB Negative, Positive 1,2 and 3 control (4 bottle x 8ml) | 17500 | 87500
12 | 5 | box | Syphilis TP Negative and Positive Control ( 2 bottle x 8ml) | 17500 | 87500
13 | 3 | box | Wash solution 1,4 bottle x 1L | 15800 | 47400
14 | 2 | box | Wash solution 2, 4 bottle x 25ml | 10300 | 20600
15 | 4 | box | Reagent Cuvettes, 4000/box | 18700 | 74800
16 | 2 | box | Reagent Caps, 200/box | 8300 | 16600
17 | 2 | box | Sample cup, 1000/box | 8599.1 | 17198.2
18 | 4 | box | Wash solution 3, 4 bottle x 1L | 15800 | 63200
19 | 25 | box | Wash Solution 4, bottle x 1L | 10700 | 267500
|  |  |  | Total Lot VIII | 3320892.1
Lot VIII. Reagent for semi-automated ELISA test
1 | 23 | box | Malaria test 96 tests/kit | 16500 | 379500
|  |  |  | Total Lot VIII | 379500
|  |  | Grand Total Lot I-VIII |  | 9103342.1
(Please indicate the brand name)
TOTAL BID AMOUNT
Total amount in words ___________________________________________________________ Required Delivery Schedule _________________ Enclosed herewith is the required Bid Security in the amount of _____________________________ (P______________), in the form of _________ pursuant to the conditions of instructions to bidders.
In case of award, I/we shall deliver the above-mentioned commodities within the delivery date/schedule as specified in the same invitation or relevant Supplemental/Bid Bulletin (s) issued by the QCGH-BAC-GOODS for the purpose.
Signature of Bidder/Proprietor over Printed Name
Name of Company & TIN
Complete Address
E-mail Address & Tel. No(s)

## Technical Specification
COMPLIANCE TO TECHNICAL SPECIFICATION
PROJECT TITLE: ACQUISITION OF LABORATORY REAGENTS-NBB ( 1ST & 2ND QTR)
PROJECT NUMBER. : 19-073
Item No. | QTY | Unit of Issue | Description | COMPLY | NOT COMPLY
Lot I - Reagents & Supplies for fully automated Bacterial Identification & Susceptibility testing, Blood Culture system and Commercially prepared Control for Bacteriology (B)
1 | 25 | bot | 0.45% Saline Solution 500ml
2 | 2 | box | Automated identification card ( for yeast) 20 cards of 64 wells/card
3 | 18 | box | Automated Susceptibility card for Gram (+) cocci 20 cards of 64 wells/card
4 | 2 | box | Automated Susceptibility card for streptococcus 20 cards of 64 wells/card
5 | 20 | box | Automated Identification card for Gram (-) Bacilli 20 cards of 64 wells/card
6 | 18 | box | Automated Identification card for Gram (+) cocci 20 cards of 64 wells/card
7 | 2 | box | Automated Identification card for Anaerobe & Corynebacterium 20 cards of 64 wells/card
8 | 2 | box | Automated Identification card for Neisseria & Hemophilus 20 cards of 64 wells/card
9 | 20 | box | Automated Susceptibility card for Gram (-) bacilli 20 cards of 64 wells/card
10 | 2 | box | Automated Susceptibility card for Gram (+) bacilli 20 cards of 64 wells/card
11 | 2 | box | Blood culture bottle with ARD (anaerobe) 100 bottles of 40ml
12 | 15 | box | Blood culture bottle with ARD aerobic, 100bottles of 30ml
13 | 5 | box | Blood culture bottle pediatric 100 bottle of 30ml/bot
14 | 5 | box | Blood culture bottle with Stir bar 50 bottles of 40ml
15 | 1 | vial | Pseudomonas aeruginosa (ATCC 278253) 5 loops/pack
16 | 1 | vial | Stapphylococcus Aureus (ATCC 29213) 5 loops/pack
17 | 1 | vial | Enterococcus faecalis (ATCC29212) 5 loops/pack
18 | 1 | vial | Escherichia Coli (ATCC 25922) 5 loops/pack
19 | 5 | pack | Suspension tubes 1000pcs/pack fit for densometer (plastic)
20 | 2 | pack | anaerobic gas pack envelope 20pcs
21 | 5 | pack | Transwab standard plastic, Amies agar Blue cap 125pcs
22 | 4 | bot | Autoclave deodorant Lemon fragrant 100 pcs
Lot II. Reagents for semi-automated urine strip reader (CM)
1 | 250 | bot | 10 Parameters urine strip for urine strip 100 strips
2 | 3 | bot | Urinalysis Control strip (positive & Negative) 100 strips
3 | 1 | bot | standard/calibrator strip 100 strips
Lot III. Reagents compatible with the existing hospital owned semi automated rapid analysis of fecal intestinal parasite (PARASYS) (CM)
1 | 5 | box | Tubes ethyl acetate for fecal formalin/ether concentration technique 40 tubes of 2.4ml/tube
2 | 5 | box | Tubes formalin for fecal formalin/ether concentration technique 40 tubes of 3.3ml/tube
3 | 5 | box | Tubes with saline for fecal formalin/ether cocentration technique 40 tubes of 3.3ml/tube
4 | 5 | bot | cleaner for fecal formalin/ether cocentration technique 50ml
Lot IV. Reagents and consummables compatible w/ hospital owned fully automated immunohistochemistry analyzer (BOND-MAX) (HP)
1 | 2 | bot | Epitope retrieval 1 1Liter170 Tests
2 | 2 | bot | Epitope retrieval 2 1Liter 170 Tests
3 | 4 | bot | Estrogen receptor bond 7ml 46Tests
4 | 2 | bot | polymer refine detection 30 ml 200 Tests
5 | 4 | bot | PR bond 7ml 46Tests
6 | 2 | bot | HER 2 1ml 200Tests
7 | 2 | bot | wash solution 10x 1 Liter 425 Tests
8 | 1 | bot | aspiration probe cleaning kit 30ml, 15 tests
9 | 4 | bot | dewax solution 350Tests
10 | 1 | bot | IHC diluent 500ml , 167 Tests
11 | 1 | box | Bond covertiles
12 | 4 | box | plus slides, 25.5 x 75.5 x 1.0mm 72pcs
13 | 6 | bot | decalcifier I 1Liter
14 | 6 | bot | decalcifier II 1Liter
Lot V. Reagents for semiautomated crossmatching analyzer (BB)
1 | 9 | box | Coombs gel Cards for cross matching AHG phase 400 tests
2 | 9 | kit | Neutral gel Cards for cross matching LISS phase 400 tests
3 | 30 | kit | Diluent for Gel cards for crossmatching 2 bottles of 100ml
Lot VI - Probe compatible with hospital owned Non-invasive Hemoglobin analyzer (Orsense NBM-200)
1 | 1 | pc | *Non-invasive hemoglobin determination probe 5000 tests/ probe
LoT VII. Reagents & consummables for fully automated immunoserology machine
1 | 23 | kit | Hepatitis B Antigen Reagent, 100 Test/kit
2 | 21 | kit | Hepatitis C Antibody Reagent, 100 Test/kit
3 | 21 | kit | HIV Ag/Ab Reagent, 100 Test/kit
4 | 22 | kit | Syphilis TP Reagent, 100 Test/kit
5 | 3 | kit | Hepatitis B Antigen Calibrator, 2 bottle x 4ml/kit
6 | 3 | box | Hepatitis C Antibody Calibrator, 1 bottle x 4ml
7 | 3 | box | HIV Ag/Ab Calibrator, 1 bottle x 4ml
8 | 3 | box | Syphilis TP Calibrator, 1 bottle x 4 ml
9 | 5 | box | Hepatitis B Antigen Negative and Positive Control (2 bottle x 8ml)
10 | 5 | box | Hepatitis C Antibody Negative and Positive Control (2 bottle x 8 ml)
11 | 5 | box | HIV Ag/AB Negative, Positive 1,2 and 3 control (4 bottle x 8ml)
12 | 5 | box | Syphilis TP Negative and Positive Control ( 2 bottle x 8ml)
13 | 3 | box | Wash solution 1,4 bottle x 1L
14 | 2 | box | Wash solution 2, 4 bottle x 25ml
15 | 4 | box | Reagent Cuvettes, 4000/box
16 | 2 | box | Reagent Caps, 200/box
17 | 2 | box | Sample cup, 1000/box
18 | 4 | box | Wash solution 3, 4 bottle x 1L
19 | 25 | box | Wash Solution 4, bottle x 1L
Lot VIII. Reagent for semi-automated ELISA test
1 | 23 | box | Malaria test 96 tests/kit
Terms of Reference
1. For Lot II
1. Must provide machine, 24/7 technical support and conduct scheduled machine calibration, preventive maintenance
2. Must be LIS ready compatible with existing HIS
3. Must provide training/actual demo for at least 1 week for not less than 3 Medical Technologists
2. For Lot II - must provide 1 backup machine using the same reagents
3. For Lot V - Must provide machine, 24/7 technical support and conduct scheduled machine calibration, preventive and maintenance
4. For Lot VII – Must provide machine
1. Machine technology must be CLIA or higher, LIS ready and must be compatible with existing HIS
2. Machine must have at least 99.5% specificity and sensitivity for all Transfusion Transmissible Infection (TTI) assays with updated Certificate of Product Registry (CPR)
3.EQAS performance grade must not be lower than Very Satisfactory in all test parameters per cycle
4. Must provide training/actual demo for at least 1 week for not less than 3 Medical Technologists, 24/7 technical support and conduct scheduled machine calibration preventive maintenance
5. For Lot VIII: Must provide training/actual demo for at least 1 week for not less than 3 Medical Technologists, 24/7 technical support and conduct scheduled machine calibration preventive maintenance