## Price Schedule
PRICE SCHEDULE
PROJECT TITLE: ACQUISITION OF TUBINGS (3rd & 4th Qtr)
PROJECT NUMBER. : 19-075
Item No. | QTY | Unit of Issue | Description | Unit Cost | ABC Itemized Ceiling Price | Brand | Bid Unit Price | Item Bid Price
Tubings (3rd & 4th Qtr)
1 | 284 | pcs. | Endotracheal tube 6.0 mm cuffed sterile Fr. 24 | 96 | 27264
2 | 267 | pcs. | Endotracheal tube 6.5 mm cuffed sterile Fr. 26 | 96 | 25632
3 | 398 | pcs. | Endotracheal tube 7.0 mm cuffed sterile Fr. 28 | 96 | 38208
4 | 765 | pcs. | Endotracheal tube 7.5 mm cuffed sterile Fr. 30 | 96 | 73440
5 | 667 | pcs. | Endotracheal tube 8.0 mm cuffed sterile Fr. 32 | 96 | 64032
6 | 16 | pcs. | Endotracheal tube 2.0 mm uncuffed sterile | 67 | 1072
7 | 300 | pcs. | Endotracheal tube 2.5 mm uncuffed sterile | 96 | 28800
8 | 309 | pcs. | Endotracheal tube 3.0 mm uncuffed sterile | 96 | 29664
9 | 309 | pcs. | Endotracheal tube 3.5 mm uncuffed sterile | 96 | 29664
10 | 33 | pcs. | Endotracheal tube 4.0 mm uncuffed sterile | 96 | 3168
11 | 300 | pcs. | Endotracheal tube 4.5 mm uncuffed sterile | 96 | 28800
12 | 300 | pcs. | Endotracheal tube 5.0 mm uncuffed sterile | 96 | 28800
13 | 271 | pcs. | Endotracheal tube 4.0 mm cuffed features high volume low pressure cuff recommended for both oral & nasal intubation | 96 | 26016
14 | 271 | pcs. | Endotracheal tube 4.5 mm cuffed features high volume low pressure cuff recommended for both oral & nasal intubation | 96 | 26016
15 | 271 | pcs. | Endotracheal tube 5.0 mm cuffed features high volume low pressure cuff recommended for both oral & nasal intubation | 96 | 26016
16 | 271 | pcs. | Endotracheal tube 5.5 mm cuffed features high volume low pressure cuff recommended for both oral & nasal intubation | 96 | 26016
17 | 967 | pcs. | Foley catheter 2way fr.16 latex, sterile 16 fr. 5-15 ml/cc non-pyrogenic disposable sterilized by ethylene oxide gas | 58.3 | 56376.1
18 | 1986 | pcs. | Infant feeding tube fr. 5-40 cm sterile smooth transparent medical gradeplastic tube with radio opaque line and correct degree of softness. | 22 | 43692
19 | 1675 | pcs. | Infant feeding tube fr. 8-40 cm sterile smooth transparent medical gradeplstic tube with radio opaque line and correct degree of softness. | 22 | 36850
20 | 1185 | pcs. | Infant feeding tube fr. 8-100 cm sterile smooth transparent medical grade plastic tube with radio opaque line and correct degree of softness. | 22 | 26070
21 | 621 | pcs. | Nasal oxygen cannula newborn with connecting tube sterile | 60 | 37260
22 | 1090 | pcs. | Nasal oxygen cannula pedia with connecting tube sterile | 60 | 65400
23 | 1835 | pcs. | Nasal oxygen cannula adult with connecting tube sterile with 7 feet crush resistant tubing | 60 | 110100
24 | 1717 | pcs. | Nebulizer kit disposable with tee tubing & mouthpiece , with 7 feet crush resistant tubing | 74.75 | 128345.75
25 | 250 | pcs. | NGT fr. 12 sterile calibrated duodenal tube sterile with cover | 19.5 | 4875
26 | 1250 | pcs. | NGT fr. 14 sterile calibrated duodenal tube sterile with cover | 19.5 | 24375
27 | 2556 | pcs. | NGT fr. 16 sterile calibrated duodenal tube sterile with cover over all length 49 inch | 19.5 | 49842
28 | 83 | pcs. | NGT fr. 16 sterile silicone calibrated duodenal tube sterile with cover over all length 49" silicone | 330 | 27390
29 | 1179 | pcs. | NGT fr. 18 sterile calibrated duodenal tube sterile with cover | 19.5 | 22990.5
30 | 1140 | pcs. | Oxygen mask Adult with connecting tube | 194.35 | 221559
31 | 308 | pcs. | Oxygen mask Pedia with connecting tube | 194.35 | 59859.8
32 | 50 | pcs. | Oxygen mask Neonate with connecting tube | 194.35 | 9717.5
33 | 108 | pcs. | Oxygen mask Infant with connecting tube | 194.35 | 20989.8
34 | 76 | pcs. | Rubber catheter fr.8 sterile nelaton straight | 25 | 1900
35 | 51 | pcs. | Rubber catheter fr.10 sterile nelaton straight | 25 | 1275
36 | 166 | pcs. | Rubber catheter fr.12 sterile nelaton straight | 25 | 4150
37 | 228 | pcs. | Rubber catheter fr.14 sterile nelaton straight | 25 | 5700
38 | 75 | pcs. | Rubber catheter fr.16 sterile nelaton straight | 25 | 1875
39 | 50 | pcs. | Rubber catheter fr.18 sterile nelaton straight | 25 | 1250
40 | 563 | pcs. | Suction poole drain set with universal connecting tube 210 cm sterile | 282 | 158766
41 | 295 | pcs. | Rebreathing Mask Infant reusable | 146.4 | 43188
42 | 295 | pcs. | Rebreathing Mask Pedia reusable | 146.4 | 43188
43 | 147 | pcs. | Rebreathing Mask Adult reusable | 146.4 | 21520.8
44 | 295 | pcs. | Rebreathing Mask Neonate reusable | 146.4 | 43188
45 | 915 | pcs. | Oxygen face mask adult with reservoir with connecting tube tip | 194.35 | 177830.25
46 | 171 | pcs. | Suction Set with yankauaer handle with control 210 cm sterile fit universal connecting tube | 312 | 53352
47 | 256 | pcs. | Suction Connecting tube sterile 1/4" x 2 m | 321 | 82176
48 | 50 | pcs. | IV Tubing extension Heidelberg Preloaded stylet included Type extension tubing 100 cm white clear flexible plastic fitted tip on three way stop cock and extends IV sets | 60 | 3000
49 | 648 | pcs. | Suction catheter fr. 5 sterile non pyrogenic by ethylene oxide gas with regulator | 12.55 | 8132.4
50 | 598 | pcs. | Suction catheter fr. 8 sterile non pyrogenic by ethylene oxide gas with regulator | 12.55 | 7504.9
51 | 298 | pcs. | Suction catheter fr. 10 sterile non pyrogenic by ethylene oxide gas with regulator | 12.55 | 3739.9
52 | 2214 | pcs. | Suction catheter fr. 14 sterile non pyrogenic by ethylene oxide gas with regulator | 12.55 | 27785.7
53 | 2443 | pcs. | Suction catheter fr. 16 sterile non pyrogenic by ethylene oxide gas with regulator | 18 | 43974
54 | 49 | pcs. | Thoracic catheter tube fr. 28 chest drainage with large bored tapered connector,radiopaque line, sterile, latex free | 548 | 26852
55 | 149 | pcs. | Thoracic catheter tube fr. 32 chest drainage with large bored tapered connector,radiopaque line, sterile, latex free | 548 | 81652
56 | 44 | pcs. | Thoracic catheter tube fr. 36 chest drainage with large bored tapered connector,radiopaque line, sterile, latex free | 548 | 24112
57 | 5 | pcs. | PEG Kit Percutaneous Endoscopic Gastrostomy Tube Fr.24 | 16500 | 82500
58 | 6 | pcs. | PEG Kit Replacement Percutaneous Endoscopic Gastrostomy Tube Fr.24 | 16000 | 96000
59 | 2 | pcs. | Silicon Tubing compatible with existing suction machine | 2875 | 5750
60 | 78 | pcs. | Infant feeding tube fr.10-40 cm sterile smooth transparent medical grade plastic tube w/ radioopaque line & correct degree of softness. | 22 | 1716
61 | 78 | pcs. | Infant feeding tube fr.12-40 cm sterile smooth transparent medical grade plastic tube w/ radioopaque line & correct degree of softness. | 22 | 1716
62 | 9 | pcs. | Tracheostomy Tube 6.0 cuffed fenestrated with inner cannula sterile | 4000 | 36000
63 | 9 | pcs. | Tracheostomy Tube 6.0 cuffed non fenestrated with inner cannula sterile | 4000 | 36000
64 | 5 | pcs. | Tracheostomy Tube 6.5 disposable sterile | 5661.43 | 28307.15
65 | 5 | pcs. | Tracheostomy Tube 7.0 disposable sterile ID 7.0 mm OD 10.7 mm | 5661.43 | 28307.15
66 | 5 | pcs. | Tracheostomy Tube 7.5 disposable sterile ID 7.5 mm OD 10.7 mm | 5661.43 | 28307.15
67 | 2 | pcs. | Tracheostomy Tube 8.0 disposable sterile ID 8.0 mm OD 10.7 mm | 5661.43 | 11322.86
68 | 2 | pcs. | Tracheostomy Tube 8.5 disposable sterile ID 8.5 mm OD 10.7 mm | 5661.43 | 11322.86
69 | 34 | pcs. | Tracheostomy Tube 8.0 cuffed fenestrated with inner cannula sterile | 4000 | 136000
70 | 9 | pcs. | Tracheostomy Tube 8.0 cuffed non fenestrated with inner cannula sterile, | 4000 | 36000
71 | 2 | pcs. | Endotracheal Double Lumen Tube Fr.35 the extension tubes and pilot balloons are imprinted w/ tracheal or bronchial to differentiate the appropriate lumen and cuff. A softer straighter tube and simple cap design. Color coded extension tubes pilot balloons and bronchoscope / suction catheter caps fr. Size 35 | 2300 | 4600
72 | 2 | pcs. | Endotracheal Double Lumen Tube Fr.37 the extension tubes and pilot balloons are imprinted w/ tracheal or bronchial to differentiate the appropriate lumen and cuff. A softer straighter tube and simple cap design. Color coded extension tubes pilot balloons and bronchoscope / suction catheter caps fr. Size 37 | 2300 | 4600
|  |  |  | ABC | 2842861.57
(Please indicate the brand name)
TOTAL BID AMOUNT
Total amount in words ___________________________________________________________ Required Delivery Schedule _________________ Enclosed herewith is the required Bid Security in the amount of _____________________________ (P______________), in the form of _________ pursuant to the conditions of instructions to bidders.
In case of award, I/we shall deliver the above-mentioned commodities within the delivery date/schedule as specified in the same invitation or relevant Supplemental/Bid Bulletin (s) issued by the QCGH-BAC-GOODS for the purpose.
Signature of Bidder/Proprietor over Printed Name
Name of Company & TIN
Complete Address
E-mail Address & Tel. No(s)

## Technical Specification
COMPLIANCE TO TECHNICAL SPECIFICATION
PROJECT TITLE: ACQUISITION OF TUBINGS (3rd & 4th Qtr)
PROJECT NUMBER. : 19-075
Item No. | QTY | Unit of Issue | Description | COMPLY | NOT COMPLY
Tubings (3rd & 4th Qtr)
1 | 284 | pcs. | Endotracheal tube 6.0 mm cuffed sterile Fr. 24
2 | 267 | pcs. | Endotracheal tube 6.5 mm cuffed sterile Fr. 26
3 | 398 | pcs. | Endotracheal tube 7.0 mm cuffed sterile Fr. 28
4 | 765 | pcs. | Endotracheal tube 7.5 mm cuffed sterile Fr. 30
5 | 667 | pcs. | Endotracheal tube 8.0 mm cuffed sterile Fr. 32
6 | 16 | pcs. | Endotracheal tube 2.0 mm uncuffed sterile
7 | 300 | pcs. | Endotracheal tube 2.5 mm uncuffed sterile
8 | 309 | pcs. | Endotracheal tube 3.0 mm uncuffed sterile
9 | 309 | pcs. | Endotracheal tube 3.5 mm uncuffed sterile
10 | 33 | pcs. | Endotracheal tube 4.0 mm uncuffed sterile
11 | 300 | pcs. | Endotracheal tube 4.5 mm uncuffed sterile
12 | 300 | pcs. | Endotracheal tube 5.0 mm uncuffed sterile
13 | 271 | pcs. | Endotracheal tube 4.0 mm cuffed features high volume low pressure cuff recommended for both oral & nasal intubation
14 | 271 | pcs. | Endotracheal tube 4.5 mm cuffed features high volume low pressure cuff recommended for both oral & nasal intubation
15 | 271 | pcs. | Endotracheal tube 5.0 mm cuffed features high volume low pressure cuff recommended for both oral & nasal intubation
16 | 271 | pcs. | Endotracheal tube 5.5 mm cuffed features high volume low pressure cuff recommended for both oral & nasal intubation
17 | 967 | pcs. | Foley catheter 2way fr.16 latex, sterile 16 fr. 5-15 ml/cc non-pyrogenic disposable sterilized by ethylene oxide gas
18 | 1986 | pcs. | Infant feeding tube fr. 5-40 cm sterile smooth transparent medical gradeplastic tube with radio opaque line and correct degree of softness.
19 | 1675 | pcs. | Infant feeding tube fr. 8-40 cm sterile smooth transparent medical gradeplstic tube with radio opaque line and correct degree of softness.
20 | 1185 | pcs. | Infant feeding tube fr. 8-100 cm sterile smooth transparent medical grade plastic tube with radio opaque line and correct degree of softness.
21 | 621 | pcs. | Nasal oxygen cannula newborn with connecting tube sterile
22 | 1090 | pcs. | Nasal oxygen cannula pedia with connecting tube sterile
23 | 1835 | pcs. | Nasal oxygen cannula adult with connecting tube sterile with 7 feet crush resistant tubing
24 | 1717 | pcs. | Nebulizer kit disposable with tee tubing & mouthpiece , with 7 feet crush resistant tubing
25 | 250 | pcs. | NGT fr. 12 sterile calibrated duodenal tube sterile with cover
26 | 1250 | pcs. | NGT fr. 14 sterile calibrated duodenal tube sterile with cover
27 | 2556 | pcs. | NGT fr. 16 sterile calibrated duodenal tube sterile with cover over all length 49 inch
28 | 83 | pcs. | NGT fr. 16 sterile silicone calibrated duodenal tube sterile with cover over all length 49" silicone
29 | 1179 | pcs. | NGT fr. 18 sterile calibrated duodenal tube sterile with cover
30 | 1140 | pcs. | Oxygen mask Adult with connecting tube
31 | 308 | pcs. | Oxygen mask Pedia with connecting tube
32 | 50 | pcs. | Oxygen mask Neonate with connecting tube
33 | 108 | pcs. | Oxygen mask Infant with connecting tube
34 | 76 | pcs. | Rubber catheter fr.8 sterile nelaton straight
35 | 51 | pcs. | Rubber catheter fr.10 sterile nelaton straight
36 | 166 | pcs. | Rubber catheter fr.12 sterile nelaton straight
37 | 228 | pcs. | Rubber catheter fr.14 sterile nelaton straight
38 | 75 | pcs. | Rubber catheter fr.16 sterile nelaton straight
39 | 50 | pcs. | Rubber catheter fr.18 sterile nelaton straight
40 | 563 | pcs. | Suction poole drain set with universal connecting tube 210 cm sterile
41 | 295 | pcs. | Rebreathing Mask Infant reusable
42 | 295 | pcs. | Rebreathing Mask Pedia reusable
43 | 147 | pcs. | Rebreathing Mask Adult reusable
44 | 295 | pcs. | Rebreathing Mask Neonate reusable
45 | 915 | pcs. | Oxygen face mask adult with reservoir with connecting tube tip
46 | 171 | pcs. | Suction Set with yankauaer handle with control 210 cm sterile fit universal connecting tube
47 | 256 | pcs. | Suction Connecting tube sterile 1/4" x 2 m
48 | 50 | pcs. | IV Tubing extension Heidelberg Preloaded stylet included Type extension tubing 100 cm white clear flexible plastic fitted tip on three way stop cock and extends IV sets
49 | 648 | pcs. | Suction catheter fr. 5 sterile non pyrogenic by ethylene oxide gas with regulator
50 | 598 | pcs. | Suction catheter fr. 8 sterile non pyrogenic by ethylene oxide gas with regulator
51 | 298 | pcs. | Suction catheter fr. 10 sterile non pyrogenic by ethylene oxide gas with regulator
52 | 2214 | pcs. | Suction catheter fr. 14 sterile non pyrogenic by ethylene oxide gas with regulator
53 | 2443 | pcs. | Suction catheter fr. 16 sterile non pyrogenic by ethylene oxide gas with regulator
54 | 49 | pcs. | Thoracic catheter tube fr. 28 chest drainage with large bored tapered connector,radiopaque line, sterile, latex free
55 | 149 | pcs. | Thoracic catheter tube fr. 32 chest drainage with large bored tapered connector,radiopaque line, sterile, latex free
56 | 44 | pcs. | Thoracic catheter tube fr. 36 chest drainage with large bored tapered connector,radiopaque line, sterile, latex free
57 | 5 | pcs. | PEG Kit Percutaneous Endoscopic Gastrostomy Tube Fr.24
58 | 6 | pcs. | PEG Kit Replacement Percutaneous Endoscopic Gastrostomy Tube Fr.24
59 | 2 | pcs. | Silicon Tubing compatible with existing suction machine
60 | 78 | pcs. | Infant feeding tube fr.10-40 cm sterile smooth transparent medical grade plastic tube w/ radioopaque line & correct degree of softness.
61 | 78 | pcs. | Infant feeding tube fr.12-40 cm sterile smooth transparent medical grade plastic tube w/ radioopaque line & correct degree of softness.
62 | 9 | pcs. | Tracheostomy Tube 6.0 cuffed fenestrated with inner cannula sterile
63 | 9 | pcs. | Tracheostomy Tube 6.0 cuffed non fenestrated with inner cannula sterile
64 | 5 | pcs. | Tracheostomy Tube 6.5 disposable sterile
65 | 5 | pcs. | Tracheostomy Tube 7.0 disposable sterile ID 7.0 mm OD 10.7 mm
66 | 5 | pcs. | Tracheostomy Tube 7.5 disposable sterile ID 7.5 mm OD 10.7 mm
67 | 2 | pcs. | Tracheostomy Tube 8.0 disposable sterile ID 8.0 mm OD 10.7 mm
68 | 2 | pcs. | Tracheostomy Tube 8.5 disposable sterile ID 8.5 mm OD 10.7 mm
69 | 34 | pcs. | Tracheostomy Tube 8.0 cuffed fenestrated with inner cannula sterile
70 | 9 | pcs. | Tracheostomy Tube 8.0 cuffed non fenestrated with inner cannula sterile,
71 | 2 | pcs. | Endotracheal Double Lumen Tube Fr.35 the extension tubes and pilot balloons are imprinted w/ tracheal or bronchial to differentiate the appropriate lumen and cuff. A softer straighter tube and simple cap design. Color coded extension tubes pilot balloons and bronchoscope / suction catheter caps fr. Size 35
72 | 2 | pcs. | Endotracheal Double Lumen Tube Fr.37 the extension tubes and pilot balloons are imprinted w/ tracheal or bronchial to differentiate the appropriate lumen and cuff. A softer straighter tube and simple cap design. Color coded extension tubes pilot balloons and bronchoscope / suction catheter caps fr. Size 37